## Innomaint Report History
S.No | Customer Name | Location | Manufacturer | Category | Sub-Category | Asset Name | Asset Model | Asset Criticality | Asset ID | Purchase Number | Purchase Date | Purchase Value | Service Provider Name | Status | Reason for Inactive | No. of Schedule Configured | No. of Schedule Initiate | Schedule Assigned
1 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | RMG_O/C 11KV Breaker-5 | NA | Non-Critical | Sholinganallur_RMG_O/C 11KV Breaker-5_5 | - | - | 0 | - | Active | - | 1 | 1 | -
2 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Scour Valve | HCL Bus Stop Back Side@CH3970_Scour Valve | NA | Non-Critical | Sholinganallur_HCL Bus Stop Back Side@CH3970_Scour Valve_146 | - | - | 0 | - | Active | - | - | - | -
3 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Zero Point Inside 110MLD WTP@CH322_Inter. SV | NA | Non-Critical | Sholinganallur_Zero Point Inside 110MLD WTP@CH322_Inter. SV_54 | - | - | 0 | - | Active | - | 1 | 1 | -
4 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Near Pallavaram Fly Over Bridge@CH15865_Butterfly Valve | NA | Non-Critical | Sholinganallur_Near Pallavaram Fly Over Bridge@CH15865_Butterfly Valve_167 | - | - | 0 | - | Active | - | - | - | -
5 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Drawout Type Bus PT Feeder | NA | Non-Critical | Sholinganallur_Drawout Type Bus PT Feeder_23 | - | - | 0 | - | Active | - | - | - | -
6 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-3 Suction SV | NA | Non-Critical | Sholinganallur_Booster Pump-3 Suction SV_115 | - | - | 0 | - | Active | - | - | - | -
7 | CMWSSB 150MLD IPS Chennai | IPS | Wilo | Mechanical | Booster Pump | Booster Pump-3 | SCF 400 - 710 HA, HSC PUMP | Non-Critical | Sholinganallur_Booster Pump-3_110 | - | - | 0 | - | Active | - | 1 | 1 | -
8 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near : Krishna Temple@CH13900_SV | NA | Non-Critical | Sholinganallur_Near Krishna Temple@CH13900_SV_90 | - | - | 0 | - | Active | - | 1 | 1 | -
9 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Pallikaranai Police Station@CH7250_SV | NA | Non-Critical | Sholinganallur_Near Pallikaranai Police Station@CH7250_SV_149 | - | - | 0 | - | Active | - | - | - | -
10 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Perumabkkam Main Road Inner Street Thoppivappa Briyani Center@CH5140_ARV | NA | Non-Critical | Sholinganallur_Near Perumabkkam Main Road Inner Street Thoppivappa Briyani Center@CH5140_ARV_147 | - | - | 0 | - | Active | - | - | - | -
11 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Booster Pump-3 O/G Breaker-3 | NA | Non-Critical | Sholinganallur_Booster Pump-3 O/G Breaker-3_18 | - | - | 0 | - | Active | - | 1 | 1 | -
12 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near PVR Cinemas@CH18630_ARV | NA | Non-Critical | Sholinganallur_Near PVR Cinemas@CH18630_ARV_97 | - | - | 0 | - | Active | - | - | - | -
13 | CMWSSB 150MLD IPS Chennai | IPS | VOLT CONTROL SYSTEM | Electrical | Battery Charger | Battery Charger-1 | DPS/BC/27/30 | Non-Critical | Sholinganallur_Battery Charger-1_169 | - | - | 0 | - | Active | - | 1 | 1 | -
14 | CMWSSB 150MLD IPS Chennai | Rising Main | Krohne | Instrumentation | Flow meter | Flow Meter Muttukadu @CH 14100 | NA | Non-Critical | Sholinganallur_Rising Main_FM Muttukadu @CH 14100_40 | - | - | 0 | - | Active | - | - | - | -
15 | CMWSSB 150MLD IPS Chennai | IPS | Krohne | Instrumentation | Flow meter | Discharge Outlet Flow Meter IPS | NA | Non-Critical | Sholinganallur_Discharge_Outlet FM IPS_44 | - | - | 0 | - | Active | - | - | - | -
16 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near TVS Emerald@CH14040_ARV | NA | Non-Critical | Sholinganallur_Near TVS Emerald@CH14040_ARV_162 | - | - | 0 | - | Active | - | - | - | -
17 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Near TVS Emerald@CH14024_SV | NA | Non-Critical | Sholinganallur_Near TVS Emerald@CH14024_SV_161 | - | - | 0 | - | Active | - | - | - | -
18 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | K.K.Salai Near Rainbow Hospital@CH2650_ARV | NA | Non-Critical | Sholinganallur_K.K.Salai Near Rainbow Hospital@CH2650_ARV_142 | - | - | 0 | - | Active | - | - | - | -
19 | CMWSSB 150MLD IPS Chennai | IPS | GURU | Instrumentation | Pressure Gauge | Booster Pump-1 Discharge PG | NA | Non-Critical | Sholinganallur_Booster Pump-1 Discharge PG_133 | - | - | 0 | - | Active | - | - | - | -
20 | CMWSSB 150MLD IPS Chennai | IPS | APC | Electrical | UPS | UPS-1 | SRC3000 | Non-Critical | Sholinganallur_UPS-1_174 | - | - | 0 | - | Active | - | - | - | -
21 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | LT | Motorized Valve Feeder Panel | NA | Non-Critical | Sholinganallur_Motorized Valve Feeder_24 | - | - | 0 | - | Active | - | - | - | -
22 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Opp: CIBA@CH12720_ARV | NA | Non-Critical | Sholinganallur_Opp: CIBA@CH12720_ARV_87 | - | - | 0 | - | Active | - | - | - | -
23 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Muttukadu PCB-2@CH11870_ARV | NA | Non-Critical | Sholinganallur_Muttukadu PCB-2@CH11870_ARV_84 | - | - | 0 | - | Active | - | - | - | -
24 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Scour Valve | Mantri Serene Apartments@CH15360_Scour Valve | NA | Non-Critical | Sholinganallur_Mantri Serene Apartments@CH15360_Scour Valve_166 | - | - | 0 | - | Active | - | - | - | -
25 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Forest Area@CH9480_ARV | NA | Non-Critical | Sholinganallur_Forest Area@CH9480_ARV_153 | - | - | 0 | - | Active | - | - | - | -
26 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Opp: Geetham Hotel@CH14186_DI Tapping Line SV | NA | Non-Critical | Sholinganallur_Opp: Geetham Hotel@CH14186_DI Tapping Line SV_91 | - | - | 0 | - | Active | - | 1 | 1 | -
27 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | 201 Feet Radial road@CH12350_ARV | NA | Non-Critical | Sholinganallur_201 Feet Radial road@CH12350_ARV_157 | - | - | 0 | - | Active | - | - | - | -
28 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Transformer-1 | NA | Non-Critical | Sholinganallur_Transformer_6 | - | - | 0 | - | Active | - | 1 | 1 | -
29 | CMWSSB 150MLD IPS Chennai | IPS | AUMA | Electrical | LT | Booster Pump-3 Actuator | NA | Non-Critical | Sholinganallur_Booster Pump-3 Actuator_33 | - | - | 0 | - | Active | - | - | - | -
30 | CMWSSB 150MLD IPS Chennai | Rising Main | Anand Fabricator | Mechanical | Expansion Joint | Muttukadu PCB-2@CH12120_Expansion Joint | NA | Non-Critical | Sholinganallur_Muttukadu PCB-2@CH12120_Expansion Joint_85 | - | - | 0 | - | Active | - | - | - | -
31 | CMWSSB 150MLD IPS Chennai | IPS | ABB | Electrical | HT | Booster Pump Motor-5 | NA | Non-Critical | Sholinganallur_Booster Pump_Motor-5_30 | - | - | 0 | - | Active | - | - | - | -
32 | CMWSSB 150MLD IPS Chennai | IPS | Rosemount | Instrumentation | Pressure Transmitter | Booster Pump-2 Discharge PT | Model: 2051GP3A2B21AB4Q4D4M5 | Non-Critical | Sholinganallur_Booster Pump-2 Discharge PT_129 | - | - | 0 | - | Active | - | - | - | -
33 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near: Muttukadu PCB@CH11800_Scour Valve | NA | Non-Critical | Sholinganallur_Near: Muttukadu PCB@CH11800_Scour Valve_83 | - | - | 0 | - | Active | - | 1 | 1 | -
34 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-1 Suction SV | NA | Non-Critical | Sholinganallur_Booster Pump-1 Suction SV_113 | - | - | 0 | - | Active | - | - | - | -
35 | CMWSSB 150MLD IPS Chennai | IPS | ABB | Electrical | HT | Booster Pump Motor-3 | NA | Non-Critical | Sholinganallur_Booster Pump_Motor-3_28 | - | - | 0 | - | Active | - | - | - | -
36 | CMWSSB 150MLD IPS Chennai | IPS | ABB | Electrical | HT | Booster Pump Motor-2 | NA | Non-Critical | Sholinganallur_Booster Pump_Motor-2_27 | - | - | 0 | - | Active | - | - | - | -
37 | CMWSSB 150MLD IPS Chennai | Rising Main | Anand Fabricator | Mechanical | Expansion Joint | B-Canal PCB -3@CH20970_Expansion Joint | NA | Non-Critical | Sholinganallur_B-Canal PCB -3@CH20970_Expansion Joint_103 | - | - | 0 | - | Active | - | - | - | -
38 | CMWSSB 150MLD IPS Chennai | Rising Main | Krohne | Instrumentation | Flow meter | Flow Meter Therkupattu @CH 6476 Bus Stop | NA | Non-Critical | Sholinganallur_Rising Main_FM Therkupattu @CH 6476 Bus Stop_38 | - | - | 0 | - | Active | - | - | - | -
39 | CMWSSB 150MLD IPS Chennai | Rising Main | Krohne | Instrumentation | Flow meter | Flow Meter Uthandi @ CH 20275 | NA | Non-Critical | Sholinganallur_Rising Main_FM Uthandi @ CH 20275_42 | - | - | 0 | - | Active | - | - | - | -
40 | CMWSSB 150MLD IPS Chennai | IPS | Wilo | Mechanical | Booster Pump | Booster Pump-1 | SCF 400 - 710 HA, HSC PUMP | Non-Critical | Sholinganallur_Booster Pump-1_108 | - | - | 0 | - | Active | - | 1 | 1 | -
41 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Therkupattu Vacant Land@CH6550_ARV | NA | Non-Critical | Sholinganallur_Near Therkupattu Vacant Land@CH6550_ARV_73 | - | - | 0 | - | Active | - | - | - | -
42 | CMWSSB 150MLD IPS Chennai | IPS | DELL | Instrumentation | Work Station | Work Station-1 | NA | Non-Critical | Sholinganallur_Work Station-1_176 | - | - | 0 | - | Active | - | - | - | -
43 | CMWSSB 150MLD IPS Chennai | Discharge | Krohne | Instrumentation | Flow meter | Discharge Flow Meter @ Sholinganallur Police Station | NA | Non-Critical | Sholinganallur_Discharge FM_Sholinganallur Police station_45 | - | - | 0 | - | Active | - | - | - | -
44 | CMWSSB 150MLD IPS Chennai | Rising Main | Anand Fabricator | Mechanical | Expansion Joint | Kovalam PCB-1@CH9905_Expansion Joint | NA | Non-Critical | Sholinganallur_Kovalam PCB-1@CH9905_Expansion Joint_80 | - | - | 0 | - | Active | - | - | - | -
45 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Opp: Narayana School@CH13540_Butterfly Valve | NA | Non-Critical | Sholinganallur_Opp: Narayana School@CH13540_Butterfly Valve_160 | - | - | 0 | - | Active | - | - | - | -
46 | CMWSSB 150MLD IPS Chennai | Rising Main | Krohne | Instrumentation | Flow meter | Flow Meter Opposite to NIPMED @CH 12840 | NA | Non-Critical | Sholinganallur_Rising Main_FM Opposite to NIPMED @CH 12840_39 | - | - | 0 | - | Active | - | - | - | -
47 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | RMG_I/C 11KV HT Breaker-2 | NA | Non-Critical | Sholinganallur_RMG_I/C 11KV HT Breaker-2_2 | - | - | 0 | - | Active | - | 1 | 1 | -
48 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | HCL Bus Stop Back Side@CH3980_Butterfly Valve | NA | Non-Critical | Sholinganallur_HCL Bus Stop Back Side@CH3980_Butterfly Valve_146 | - | - | 0 | - | Active | - | - | - | -
49 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Scour Valve | Vels College Signal@CH14640_Scour Valve | NA | Non-Critical | Sholinganallur_Vels College Signal@CH14640_Scour Valve_163 | - | - | 0 | - | Active | - | - | - | -
50 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near NithyaKalyana Perumal Kovil@CH7160_ARV | NA | Non-Critical | Sholinganallur_Near NithyaKalyana Perumal Kovil@CH7160_ARV_74 | - | - | 0 | - | Active | - | - | - | -
51 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | HCL Bus Stop Back Side@CH3880_ARV | NA | Non-Critical | Sholinganallur_HCL Bus Stop Back Side@CH3880_ARV_145 | - | - | 0 | - | Active | - | - | - | -
52 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near Thiruvidanthai Vacant Land@CH5820_Scour Valve | NA | Non-Critical | Sholinganallur_Near Thiruvidanthai Vacant Land@CH5820_Scour Valve_70 | - | - | 0 | - | Active | - | 1 | 1 | -
53 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | NRV | Booster Pump-1 NRV | NA | Non-Critical | Sholinganallur_Booster Pump-1 NRV_118 | - | - | 0 | - | Active | - | - | - | -
54 | CMWSSB 150MLD IPS Chennai | IPS | Rosemount | Instrumentation | Pressure Transmitter | Booster Pump-3 Discharge PT | Model: 2051GP3A2B21AB4Q4D4M5 | Non-Critical | Sholinganallur_Booster Pump-3 Discharge PT_130 | - | - | 0 | - | Active | - | - | - | -
55 | CMWSSB 150MLD IPS Chennai | IPS | Rosemount | Instrumentation | Pressure Transmitter | Booster Pump-5 Discharge PT | Model: 2051GP3A2B21AB4Q4D4M5 | Non-Critical | Sholinganallur_Booster Pump-5 Discharge PT_132 | - | - | 0 | - | Active | - | - | - | -
56 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-1 Discharge SV | NA | Non-Critical | Sholinganallur_Booster Pump-1 Discharge SV_123 | - | - | 0 | - | Active | - | - | - | -
57 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | APFC Panel | NA | Non-Critical | Sholinganallur_APFC Panel_14 | - | - | 0 | - | Active | - | - | - | -
58 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Scour Valve | 200 Feet Radial road@CH12290_Scour Valve | NA | Non-Critical | Sholinganallur_200 Feet Radial road@CH12290_Scour Valve_156 | - | - | 0 | - | Active | - | - | - | -
59 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-4 Discharge SV | NA | Non-Critical | Sholinganallur_Booster Pump-4 Discharge SV_126 | - | - | 0 | - | Active | - | - | - | -
60 | CMWSSB 150MLD IPS Chennai | IPS | Rosemount | Instrumentation | Pressure Transmitter | Booster Pump-4 Discharge PT | Model: 2051GP3A2B21AB4Q4D4M5 | Non-Critical | Sholinganallur_Booster Pump-4 Discharge PT_131 | - | - | 0 | - | Active | - | - | - | -
61 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near Modi Ground@CH7620_Scour Valve | NA | Non-Critical | Sholinganallur_Near Modi Ground@CH7620_Scour Valve_75 | - | - | 0 | - | Active | - | 1 | 1 | -
62 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Burial Ground@CH850_ARV | NA | Non-Critical | Sholinganallur_Near Burial Ground@CH850_ARV_59 | - | - | 0 | - | Active | - | - | - | -
63 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Opp: CIBA@CH12840_DI Tapping Line SV | NA | Non-Critical | Sholinganallur_Opp: CIBA@CH12840_DI Tapping Line SV_88 | - | - | 0 | - | Active | - | 1 | 1 | -
64 | CMWSSB 150MLD IPS Chennai | IPS | GURU | Instrumentation | Pressure Gauge | Booster Pump-2 Discharge PG | NA | Non-Critical | Sholinganallur_Booster Pump-2 Discharge PG_134 | - | - | 0 | - | Active | - | - | - | -
65 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near B-Canal PCB-3@CH21060_Scour Valve | NA | Non-Critical | Sholinganallur_Near B-Canal PCB-3@CH21060_Scour Valve_105 | - | - | 0 | - | Active | - | 1 | 1 | -
66 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Service Road@CH4800_ARV | NA | Non-Critical | Sholinganallur_Near Service Road@CH4800_ARV_68 | - | - | 0 | - | Active | - | - | - | -
67 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | 150MLD IPS@CH 30 SV | NA | Non-Critical | Sholinganallur_150MLD IPS@CH30_SV_139 | - | - | 0 | - | Active | - | 1 | 1 | -
68 | CMWSSB 150MLD IPS Chennai | IPS | Wilo | Mechanical | Booster Pump | Booster Pump-5 | SCF 400 - 710 HA, HSC PUMP | Non-Critical | Sholinganallur_Booster Pump-5_112 | - | - | 0 | - | Active | - | 1 | 1 | -
69 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | TNEB-RMG_I/C VCB 11KV HT Breaker-1 | NA | Non-Critical | Sholinganallur_TNEB-RMG_I/C VCB 11KV HT Breaker-1_178 | - | - | 0 | - | Active | - | 1 | 1 | -
70 | CMWSSB 150MLD IPS Chennai | Discharge | Krohne | Instrumentation | Flow meter | Discharge Flow Meter @Sholinganallur Gas Station | NA | Non-Critical | Sholinganallur_Discharge FM_Sholinganallur Gas Station_46 | - | - | 0 | - | Active | - | - | - | -
71 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Booster Pump-2 O/G Breaker-2 | NA | Non-Critical | Sholinganallur_Booster Pump-2 O/G Breaker-2_17 | - | - | 0 | - | Active | - | 1 | 1 | -
72 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Near:Buckingam Garden@CH15810_Butterfly Valve | NA | Non-Critical | Sholinganallur_Near:Buckingam Garden@CH15810_Butterfly Valve_93 | - | - | 0 | - | Active | - | - | - | -
73 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near Therkupattu Flag Post@Ch6476_DI Tapping Line SV | NA | Non-Critical | Sholinganallur_Near Therkupattu Flag Post@Ch6476_DI Tapping Line SV_72 | - | - | 0 | - | Active | - | 1 | 1 | -
74 | CMWSSB 150MLD IPS Chennai | IPS | ABB | Instrumentation | Level Switch | IPS Sump Level Switch | LST 200Y0308M2P3L1A4CELBM5 | Non-Critical | Sholinganallur_IPS_LS_51 | - | - | 0 | - | Active | - | - | - | -
75 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Indian Marinetime University@CH19660_ARV | NA | Non-Critical | Sholinganallur_Near Indian Marinetime University@CH19660_ARV_99 | - | - | 0 | - | Active | - | - | - | -
76 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Indoor O/G-1 Breaker | NA | Non-Critical | Sholinganallur_Indoor I/C Breaker-2_13 | - | - | 0 | - | Active | - | 1 | 1 | -
77 | CMWSSB 150MLD IPS Chennai | Discharge | Krohne | Instrumentation | Flow meter | Discharge Flow Meter @ Pallavaram Flyover | NA | Non-Critical | Sholinganallur_Discharge FM_Pallavaram_50 | - | - | 0 | - | Active | - | - | - | -
78 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | NRV | Booster Pump-2 NRV | NA | Non-Critical | Sholinganallur_Booster Pump-2 NRV_119 | - | - | 0 | - | Active | - | - | - | -
79 | CMWSSB 150MLD IPS Chennai | IPS | AUMA | Electrical | LT | Booster Pump-2 Actuator | NA | Non-Critical | Sholinganallur_Booster Pump-2 Actuator_32 | - | - | 0 | - | Active | - | - | - | -
80 | CMWSSB 150MLD IPS Chennai | Discharge | Krohne | Instrumentation | Flow meter | Discharge Flow Meter @Madipakkam Tapping | NA | Non-Critical | Sholinganallur_Discharge FM_Madipakkam Tapping_48 | - | - | 0 | - | Active | - | - | - | -
81 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Near AMIET University@CH17555_Butterfly Valve | NA | Non-Critical | Sholinganallur_Near AMIET University@CH17555_Butterfly Valve_95 | - | - | 0 | - | Active | - | - | - | -
82 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | NRV | Booster Pump-3 NRV | NA | Non-Critical | Sholinganallur_Booster Pump-3 Suction NRV_120 | - | - | 0 | - | Active | - | - | - | -
83 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-2 Discharge SV | NA | Non-Critical | Sholinganallur_Booster Pump-2 Discharge SV_124 | - | - | 0 | - | Active | - | - | - | -
84 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Vels College Signal@CH14650_ARV | NA | Non-Critical | Sholinganallur_Vels College Signal@CH14650_ARV_164 | - | - | 0 | - | Active | - | - | - | -
85 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Kovalam PCB-1@CH9760_ARV | NA | Non-Critical | Sholinganallur_Kovalam PCB-1@CH9760_ARV_79 | - | - | 0 | - | Active | - | - | - | -
86 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Ajfan Shop@CH13550_ARV | NA | Non-Critical | Sholinganallur_Near Ajfan Shop@CH13550_ARV_89 | - | - | 0 | - | Active | - | - | - | -
87 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | 2000KVA TR-1_O/C Breaker | NA | Non-Critical | Sholinganallur_2000KVA TR-1_O/C Breaker_9 | - | - | 0 | - | Active | - | 1 | 1 | -
88 | CMWSSB 150MLD IPS Chennai | IPS | AUMA | Electrical | LT | Booster Pump-4 Actuator | NA | Non-Critical | Sholinganallur_Booster Pump-4 Actuator_34 | - | - | 0 | - | Active | - | - | - | -
89 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | NRV | Booster Pump-4 NRV | NA | Non-Critical | Sholinganallur_Booster Pump-4 NRV_121 | - | - | 0 | - | Active | - | - | - | -
90 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | RMG_I/C 11KV HT Breaker-1 | NA | Non-Critical | Sholinganallur_RMG_I/C 11KV HT Breaker-1_1 | - | - | 0 | - | Active | - | 1 | 1 | -
91 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | 150MLD IPS@CH21910_SV | NA | Non-Critical | Sholinganallur_150MLD IPS@CH21910_SV_106 | - | - | 0 | - | Active | - | 1 | 1 | -
92 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | 2000KVA TR-2_O/C Breaker | NA | Non-Critical | Sholinganallur_2000KVA TR-2_O/C Breaker_10 | - | - | 0 | - | Active | - | 1 | 1 | -
93 | CMWSSB 150MLD IPS Chennai | IPS | AUMA | Electrical | LT | Booster Pump-1 Actuator | NA | Non-Critical | Sholinganallur_Booster Pump-1 Actuator_31 | - | - | 0 | - | Active | - | - | - | -
94 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Opp.Intercontinental Hotel@CH4050_ARV | NA | Non-Critical | Sholinganallur_Opp.Intercontinental Hotel@CH4050_ARV_66 | - | - | 0 | - | Active | - | - | - | -
95 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Indoor Diesel Generator O/C Breaker | NA | Non-Critical | Sholinganallur_Indoor Diesel Generator O/C Breaker_21 | - | - | 0 | - | Active | - | 1 | 1 | -
96 | CMWSSB 150MLD IPS Chennai | IPS | AUMA | Electrical | LT | Booster Pump-5 Actuator | NA | Non-Critical | Sholinganallur_Booster Pump-5 Actuator_35 | - | - | 0 | - | Active | - | - | - | -
97 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Cofee Shop@CH2500_ARV | NA | Non-Critical | Sholinganallur_Near Cofee Shop@CH2500_ARV_61 | - | - | 0 | - | Active | - | - | - | -
98 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Scour Valve | Echangadu Junction@CH11760_Scour Valve | NA | Non-Critical | Sholinganallur_Echangadu Junction@CH11760_Scour Valve_155 | - | - | 0 | - | Active | - | - | - | -
99 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near B-Canal PCB -3@CH20555_Scour Valve | NA | Non-Critical | Sholinganallur_Near B-Canal PCB -3@CH20555_Scour Valve_101 | - | - | 0 | - | Active | - | 1 | 1 | -
100 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | RMG_Bus Coupler-3 | NA | Non-Critical | Sholinganallur_RMG_Bus Coupler-3_3 | - | - | 0 | - | Active | - | 1 | 1 | -
101 | CMWSSB 150MLD IPS Chennai | IPS | GURU | Instrumentation | Pressure Gauge | Booster Pump-3 Discharge PG | NA | Non-Critical | Sholinganallur_Booster Pump-3 Discharge PG_135 | - | - | 0 | - | Active | - | - | - | -
102 | CMWSSB 150MLD IPS Chennai | IPS | GURU | Instrumentation | Pressure Gauge | Booster Pump-4 Discharge PG | NA | Non-Critical | Sholinganallur_Booster Pump-4 Discharge PG_136 | - | - | 0 | - | Active | - | - | - | -
103 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | TNHB Main Road Near TNHB Building@CH1300_ARV | NA | Non-Critical | Sholinganallur_TNHB Main Road Near TNHB Building@CH1300_ARV_141 | - | - | 0 | - | Active | - | - | - | -
104 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Opp:Shell Petrol Bunk@CH16480_ARV | NA | Non-Critical | Sholinganallur_Opp:Shell Petrol Bunk@CH16480_ARV_94 | - | - | 0 | - | Active | - | - | - | -
105 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Kovalam PCB-1@CH10065_ARV | NA | Non-Critical | Sholinganallur_Kovalam PCB-1@CH10065_ARV_81 | - | - | 0 | - | Active | - | - | - | -
106 | CMWSSB 150MLD IPS Chennai | IPS | DELL | Instrumentation | Work Station | Work Station-2 | NA | Non-Critical | Sholinganallur_Work Station-2_177 | - | - | 0 | - | Active | - | - | - | -
107 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Opp.Intercontinental Hotel@CH4006_DI Tapping Line SV | NA | Non-Critical | Sholinganallur_Opp.Intercontinental Hotel@CH4006_DI Tapping Line SV_65 | - | - | 0 | - | Active | - | 1 | 1 | -
108 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Renault Showroom@CH15200_ARV | NA | Non-Critical | Sholinganallur_Renault Showroom@CH15200_ARV_165 | - | - | 0 | - | Active | - | - | - | -
109 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Bhuari Hotel@CH17950_ARV | NA | Non-Critical | Sholinganallur_Near Bhuari Hotel@CH17950_ARV_96 | - | - | 0 | - | Active | - | - | - | -
110 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Opp: GO Gas Bunk and Police Station@CH2950_SV | NA | Non-Critical | Sholinganallur_Opp: GO Gas Bunk and Police Station@CH2950_SV_144 | - | - | 0 | - | Active | - | 1 | 1 | -
111 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Hotel@CH2880_ARV | NA | Non-Critical | Sholinganallur_Near Hotel@CH2880_ARV_62 | - | - | 0 | - | Active | - | - | - | -
112 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Opp:SBI Bank@CH8000_Butterfly Valve | NA | Non-Critical | Sholinganallur_Opp:SBI Bank@CH8000_Butterfly Valve_152 | - | - | 0 | - | Active | - | - | - | -
113 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | B-Canal PCB -3@CH20910_ARV | NA | Non-Critical | Sholinganallur_B-Canal PCB -3@CH20910_ARV_102 | - | - | 0 | - | Active | - | - | - | -
114 | CMWSSB 150MLD IPS Chennai | IPS | JAPS | Mechanical | EOT | 150MLD IPS EOT_7.5TON | NA | Non-Critical | Sholinganallur_150MLD IPS-EOT_180 | - | - | 0 | - | Active | - | - | - | -
115 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | 150MLD IPS@CH22075_ARV | NA | Non-Critical | Sholinganallur_150MLD IPS@CH22075_ARV_107 | - | - | 0 | - | Active | - | - | - | -
116 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | Battery Charger | Battery Charger-2 | NA | Non-Critical | Sholinganallur_Battery Charger-2_172 | - | - | 0 | - | Active | - | 1 | 1 | -
117 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Transformer-2 | NA | Non-Critical | Sholinganallur_Transformer_7 | - | - | 0 | - | Active | - | 1 | 1 | -
118 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Opp: Aalamaram Bus Stop@CH11000_ARV | NA | Non-Critical | Sholinganallur_Opp: Aalamaram Bus Stop@CH11000_ARV_82 | - | - | 0 | - | Active | - | - | - | -
119 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Zero Point Near Village@CH342_DI Tapping Line SV | NA | Non-Critical | Sholinganallur_Zero Point Near Village@CH342_DI Tapping Line SV_56 | - | - | 0 | - | Active | - | 1 | 1 | -
120 | CMWSSB 150MLD IPS Chennai | IPS | ABB | Electrical | HT | Booster Pump Motor-4 | NA | Non-Critical | Sholinganallur_Booster Pump_Motor-4_29 | - | - | 0 | - | Active | - | - | - | -
121 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Booster Pump-5 O/G Breaker-5 | NA | Non-Critical | Sholinganallur_Booster Pump-5 O/G Breaker-5_20 | - | - | 0 | - | Active | - | 1 | 1 | -
122 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | LT | LDB Power Panel | NA | Non-Critical | Sholinganallur_LDB Feeder_25 | - | - | 0 | - | Active | - | - | - | -
123 | CMWSSB 150MLD IPS Chennai | IPS | Schneider Electric | Instrumentation | PLC | PLC CPU Main Controler | NA | Non-Critical | Sholinganallur_PLC CPU Main Controler_173 | - | - | 0 | - | Active | - | - | - | -
124 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Indoor Bus Coupler | NA | Non-Critical | Sholinganallur_Indoor BUS Coubler_22 | - | - | 0 | - | Active | - | 1 | 1 | -
125 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-3 Discharge SV | NA | Non-Critical | Sholinganallur_Booster Pump-3 Discharge SV_125 | - | - | 0 | - | Active | - | - | - | -
126 | CMWSSB 150MLD IPS Chennai | IPS | ABB | Electrical | HT | Booster Pump Motor-1 | NA | Non-Critical | Sholinganallur_Booster Pump_Motor-1_26 | - | - | 0 | - | Active | - | - | - | -
127 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Near GM Residency Hotel@CH4060_Butterfly Valve | NA | Non-Critical | Sholinganallur_Near GM Residency Hotel@CH4060_BV_67 | - | - | 0 | - | Active | - | - | - | -
128 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | TNHB Main Road Near ReadyMix Yard@CH550_ARV | NA | Non-Critical | Sholinganallur_TNHB Main Road Near ReadyMix Yard @CH550_ARV_140 | - | - | 0 | - | Active | - | - | - | -
129 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near Burial Ground@CH3850_Scour Valve | NA | Non-Critical | Sholinganallur_Near Burial Ground@CH3850_Scour Valve_64 | - | - | 0 | - | Active | - | 1 | 1 | -
130 | CMWSSB 150MLD IPS Chennai | Discharge | Krohne | Instrumentation | Flow meter | Discharge Flow Meter @TVS EMARALD Appartments | NA | Non-Critical | Sholinganallur_Discharge FM_Radial Road_49 | - | - | 0 | - | Active | - | - | - | -
131 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Near Modi Ground@CH7800_Butterfly Valve | NA | Non-Critical | Sholinganallur_Near Modi Ground@CH7800_Butterfly Valve_76 | - | - | 0 | - | Active | - | - | - | -
132 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Karupatti Coffee Shop@CH11560_ARV | NA | Non-Critical | Sholinganallur_Near Karupatti Coffee Shop@CH11560_ARV_154 | - | - | 0 | - | Active | - | - | - | -
133 | CMWSSB 150MLD IPS Chennai | IPS | Rosemount | Instrumentation | Pressure Transmitter | Booster Pump-1 Discharge PT | Model: 2051GP3A2B21AB4Q4D4M5 | Non-Critical | Sholinganallur_Booster Pump-1 Discharge PT_128 | - | - | 0 | - | Active | - | - | - | -
134 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-5 Suction SV | NA | Non-Critical | Sholinganallur_Booster Pump-5 Suction SV_117 | - | - | 0 | - | Active | - | - | - | -
135 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Opp. 400MLD WTP@CH1690_ARV | NA | Non-Critical | Sholinganallur_Opp. 400MLD WTP@CH1690_ARV_60 | - | - | 0 | - | Active | - | - | - | -
136 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near:Buckingam Garden@CH15650_ARV | NA | Non-Critical | Sholinganallur_Near:Buckingam Garden@CH15650_ARV_92 | - | - | 0 | - | Active | - | - | - | -
137 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-4 Suction SV | NA | Non-Critical | Sholinganallur_Booster Pump-4 Suction SV_116 | - | - | 0 | - | Active | - | - | - | -
138 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Muttukadu PCB-2@12125_ARV | NA | Non-Critical | Sholinganallur_Muttukadu PCB-2@12125_ARV_86 | - | - | 0 | - | Active | - | - | - | -
139 | CMWSSB 150MLD IPS Chennai | IPS | Wilo | Mechanical | Booster Pump | Booster Pump-4 | SCF 400 - 710 HA, HSC PUMP | Non-Critical | Sholinganallur_Booster Pump-4_111 | - | - | 0 | - | Active | - | 1 | 1 | -
140 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | B-Canal PCB -3@CH21040_ARV | NA | Non-Critical | Sholinganallur_B-Canal PCB -3@CH21040_ARV_104 | - | - | 0 | - | Active | - | - | - | -
141 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Scour Valve | 203 Feet Radial road@CH13580_Scour Valve | NA | Non-Critical | Sholinganallur_203 Feet Radial road@CH13580_Scour Valve_159 | - | - | 0 | - | Active | - | - | - | -
142 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Indoor I/C-2 Breaker | NA | Non-Critical | Sholinganallur_Indoor I/C-Breaker-2_12 | - | - | 0 | - | Active | - | 1 | 1 | -
143 | CMWSSB 150MLD IPS Chennai | Rising Main | Krohne | Instrumentation | Flow meter | Flow Meter PVR cinemas @ CH 18710 | NA | Non-Critical | Sholinganallur_Rising Main_FM PVR cinemas @ CH 18710_41 | - | - | 0 | - | Active | - | - | - | -
144 | CMWSSB 150MLD IPS Chennai | IPS | Krohne | Instrumentation | Flow meter | Inlet Flow Meter IPS | NA | Non-Critical | Sholinganallur_Rising Main_Inlet FM IPS_43 | - | - | 0 | - | Active | - | - | - | -
145 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | NRV | Booster Pump-5 NRV | NA | Non-Critical | Sholinganallur_Booster Pump-5 NRV_122 | - | - | 0 | - | Active | - | - | - | -
146 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | LT | Transformer-3 | NA | Non-Critical | Sholinganallur_Transformer_8 | - | - | 0 | - | Active | - | 1 | 1 | -
147 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Booster Pump-1 O/G Breaker-1 | NA | Non-Critical | Sholinganallur_Booster Pump-1 O/G Breaker-1_16 | - | - | 0 | - | Active | - | 1 | 1 | -
148 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Butterfly Valve | Opp: Ponram Hardwares@CH7805_Butterfly Valve | NA | Non-Critical | Sholinganallur_Opp: Ponram Hardwares@CH7805_Butterfly Valve_151 | - | - | 0 | - | Active | - | - | - | -
149 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | 202 Feet Radial road@CH13120_ARV | NA | Non-Critical | Sholinganallur_202 Feet Radial road@CH13120_ARV_158 | - | - | 0 | - | Active | - | - | - | -
150 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Santhanas Hotel@CH9000_ARV | NA | Non-Critical | Sholinganallur_Near Santhanas Hotel@CH9000_ARV_77 | - | - | 0 | - | Active | - | - | - | -
151 | CMWSSB 150MLD IPS Chennai | Rising Main | Krohne | Instrumentation | Flow meter | Flow Meter @CH 90 ZERO POINT | NA | Non-Critical | Sholinganallur_Rising Main_FM @CH 90 ZERO POINT_36 | - | - | 0 | - | Active | - | - | - | -
152 | CMWSSB 150MLD IPS Chennai | IPS | Powerica | Mechanical | Diesel Generator | Diesel Generator | MVSI804R1 | Non-Critical | Sholinganallur_Diesel Generator_138 | - | - | 0 | - | Active | - | 1 | 1 | -
153 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near Stone Shop@CH9140_Scour Valve | NA | Non-Critical | Sholinganallur_Near Stone Shop@CH9140_Scour Valve_78 | - | - | 0 | - | Active | - | 1 | 1 | -
154 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near PVR Cinemas@CH18710_DI Tapping Line SV | NA | Non-Critical | Sholinganallur_Near PVR Cinemas@CH18710_DI Tapping Line SV_98 | - | - | 0 | - | Active | - | 1 | 1 | -
155 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near Trenchless Chamber and Police Station@CH2740_SV | NA | Non-Critical | Sholinganallur_Near Trenchless Chamber and Police Station@CH2740_SV_143 | - | - | 0 | - | Active | - | 1 | 1 | -
156 | CMWSSB 150MLD IPS Chennai | IPS | APC | Electrical | UPS | UPS-2 | SRC3000 | Non-Critical | Sholinganallur_UPS-2_175 | - | - | 0 | - | Active | - | - | - | -
157 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Zero Point Opp. Village@CH500_ARV | NA | Non-Critical | Sholinganallur_Zero Point Opp. Village@CH500_ARV_58 | - | - | 0 | - | Active | - | - | - | -
158 | CMWSSB 150MLD IPS Chennai | IPS | Wilo | Mechanical | Booster Pump | Booster Pump-2 | SCF 400 - 710 HA, HSC PUMP | Non-Critical | Sholinganallur_Booster Pump-2_109 | - | - | 0 | - | Active | - | 1 | 1 | -
159 | CMWSSB 150MLD IPS Chennai | Discharge | Krohne | Instrumentation | Flow meter | Discharge Flow Meter @ Velachery Tapping | NA | Non-Critical | Sholinganallur_Discharge FM_Velachery Tapping_47 | - | - | 0 | - | Active | - | - | - | -
160 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Zero Point Opp. to 100MLD WTP@CH250_ Scour Valve | NA | Non-Critical | Sholinganallur_Zero Point Opp. to 100MLD WTP@CH250_ Scour Valve_57 | - | - | 0 | - | Active | - | 1 | 1 | -
161 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-5 Discharge SV | NA | Non-Critical | Sholinganallur_Booster Pump-5 Discharge SV_127 | - | - | 0 | - | Active | - | - | - | -
162 | CMWSSB 150MLD IPS Chennai | IPS | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Booster Pump-2 Suction SV | NA | Non-Critical | Sholinganallur_Booster Pump-2 Suction SV_114 | - | - | 0 | - | Active | - | - | - | -
163 | CMWSSB 150MLD IPS Chennai | IPS | GURU | Instrumentation | Pressure Gauge | Booster Pump-5 Discharge PG | NA | Non-Critical | Sholinganallur_Booster Pump-5 Discharge PG_137 | - | - | 0 | - | Active | - | - | - | -
164 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Near Vaishnava College @CH16677_SV | NA | Non-Critical | Sholinganallur_Near Vaishnava College @CH16677_SV_168 | - | - | 0 | - | Active | - | 1 | 1 | -
165 | CMWSSB 150MLD IPS Chennai | IPS | ABB | Instrumentation | Level Indicator | IPS Level Indicator | FTS-SK63P | Non-Critical | Sholinganallur_IPS_LI_52 | - | - | 0 | - | Active | - | - | - | -
166 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Thiruvidanthai Vacant Land@CH6000_ARV | NA | Non-Critical | Sholinganallur_Near Thiruvidanthai Vacant Land@CH6000_ARV_71 | - | - | 0 | - | Active | - | - | - | -
167 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Indoor I/C-1 Breaker | NA | Non-Critical | Sholinganallur_Indoor I/C Breaker-1_11 | - | - | 0 | - | Active | - | - | - | -
168 | CMWSSB 150MLD IPS Chennai | IPS | SUN AUTOMATION & SOLUTIONS PVT.LTD | Instrumentation | PLC | PLC Control Panel | PL22J533 | Non-Critical | Sholinganallur_PLC Control Panel_170 | - | - | 0 | - | Active | - | - | - | -
169 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | TNEB-RMG_O/C VCB 11KV HT Breaker-2 | NA | Non-Critical | Sholinganallur_TNEB-RMG_O/C VCB 11KV HT Breaker-2_179 | - | - | 0 | - | Active | - | 1 | 1 | -
170 | CMWSSB 150MLD IPS Chennai | Rising Main | Krohne | Instrumentation | Flow meter | Flow Meter @CH 4006 Vada nemmeli | NA | Non-Critical | Sholinganallur_Rising Main_FM @CH 4006 Vada Nemmeli_37 | - | - | 0 | - | Active | - | - | - | -
171 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Booster Pump-4 O/G Breaker-4 | NA | Non-Critical | Sholinganallur_Booster Pump-4 O/G Breaker-4_19 | - | - | 0 | - | Active | - | 1 | 1 | -
172 | CMWSSB 150MLD IPS Chennai | IPS | SUN AUTOMATION & SOLUTIONS PVT.LTD | Instrumentation | PLC | Temperature Scanner Control Panel | PL22J534 | Non-Critical | Sholinganallur_Temperature Scanner Control Panel_171 | - | - | 0 | - | Active | - | - | - | -
173 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Dismantling Joint | Zero Point Inside 110MLD WTP@CH322_Inter. Dismantling Joint. | NA | Non-Critical | Sholinganallur_Zero Point Inside 110MLD WTP@CH322_Inter. Dismantling Joint_55 | - | - | 0 | - | Active | - | - | - | -
174 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Service Road@CH5150_ARV | NA | Non-Critical | Sholinganallur_Near Service Road@CH5150_ARV_69 | - | - | 0 | - | Active | - | - | - | -
175 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | RMG_O/C 11KV Breaker-4 | NA | Non-Critical | Sholinganallur_RMG_O/C 11KV Breaker-4_4 | - | - | 0 | - | Active | - | 1 | 1 | -
176 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Zero Point Inside 150MLD WTP@CH00 _ARV | NA | Non-Critical | Sholinganallur_Zero Point Inside 150MLD WTP@CH00 _ARV_53 | - | - | 0 | - | Active | - | - | - | -
177 | CMWSSB 150MLD IPS Chennai | IPS | VOLTECH | Electrical | HT | Spare Feeder | NA | Non-Critical | Sholinganallur_SPARE Feeder_15 | - | - | 0 | - | Active | - | - | - | -
178 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Sluice Valve | Opp:Uthandi WSS Scheme@CH20275_DI Tapping Line SV | NA | Non-Critical | Sholinganallur_Opp:Uthandi WSS Scheme@CH20275_DI Tapping Line SV_100 | - | - | 0 | - | Active | - | 1 | 1 | -
179 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Amma Fish Market@CH6000_ARV | NA | Non-Critical | Sholinganallur_Amma Fish Market@CH6000_ARV_148 | - | - | 0 | - | Active | - | - | - | -
180 | CMWSSB 150MLD IPS Chennai | Rising Main | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Near Arabic College@CH3360_ARV | NA | Non-Critical | Sholinganallur_Near Arabic College@CH3360_ARV_63 | - | - | 0 | - | Active | - | - | - | -
181 | CMWSSB 150MLD IPS Chennai | Discharge | DURGA VALVES PVT LTD | Mechanical | Air Release Valve | Opp: Ponram Hardwares@CH7550_ARV | NA | Non-Critical | Sholinganallur_Opp: Ponram Hardwares@CH7550_ARV_150 | - | - | 0 | - | Active | - | - | - | -